

8.63

**F**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | SIZE | DIMENSIONS | -2PASS | CONNSIZE | -4PASS | CONNSIZE | SHELLIN | SHELLOUT |
|  | A | B | C | D | F | LBS | X | Y | U |  | V | NPT | NPT |
|  | WF-0802 | 36.6 | 10.9 | 5.5 | 14.5 | 12.5 | 220 | 17.5 | 3 | 8.8 |  | 2 | 3 | 3 |
|  | WF-0803 | 48.6 | 10.9 | 5.5 | 26.5 | 12.5 | 260 | 17.5 | 3 | 8.8 |  | 2 | 3 | 3 |
|  | WF-0804 | 60.6 | 10.9 | 5.5 | 38.5 | 12.5 | 300 | 17.5 | 3 | 8.8 |  | 2 | 3 | 3 |
|  | WF-0805 | 72.6 | 10.9 | 5.5 | 50.5 | 12.5 | 340 | 17.5 | 3 | 8.8 |  | 2 | 3 | 3 |
|  | WF-0806 | 84.6 | 10.9 | 5.5 | 62.5 | 12.5 | 380 | 17.5 | 3 | 8.8 |  | 2 | 3 | 3 |
|  | WF-0807 | 96.6 | 10.9 | 5.5 | 74.5 | 12.5 | 420 | 17.5 | 3 | 8.8 |  | 2 | 3 | 3 |
|  | WF-0808 | 108.6 | 10.9 | 5.5 | 86.5 | 12.5 | 460 | 17.5 | 3 | 8.8 |  | 2 | 3 | 3 |
|  | WF-0809 | 120.6 | 10.9 | 5.5 | 98.5 | 12.5 | 500 | 17.5 | 3 | 8.8 |  | 2 | 3 | 3 |
|  | WF-0810 | 132.6 | 10.9 | 5.5 | 110.5 | 12.5 | 540 | 17.5 | 3 | 8.8 |  | 2 | 3 | 3 |
|  | WF-0811 | 144.6 | 10.9 | 5.5 | 122.5 | 12.5 | 580 | 17.5 | 3 | 8.8 |  | 2 | 3 | 3 |
|  | WF-0812 | 156.6 | 10.9 | 5.5 | 134.5 | 12.5 | 620 | 17.5 | 3 | 8.8 |  | 2 | 3 | 3 |
|  | DESIGN CONDITIONS | Notes:Units fabricated and tested in accordance with ASME Section VIII Division 1.Heat exchanger supports provided separately.All dimensions + / - 0.125”. |
|  |  | TUBE SIDE | SHELL SIDE |
|  | DESIGN PRESSURE | 150 Psig | 150 Psig |
|  | TEST PRESSURE | 195 Psig | 195 Psig |
|  | DESIGN TEMPERATURE  | 375 °F | 375 °F |
|  | MIN METAL: TEMPERATURE | 35 °F | 35 °F |

**Dimensional Data (inches)**